## WorkBook Summary
Case: | c:\Users\SAEERM\OneDrive - Idaho National Laboratory\Projects\Initial Scoping 103614222\TES Use Case - Shared Folder\ASPEN HYSYS MODELS\1-11-50.hsc
Flowsheet: | Main
Current Flowsheet Environment: | Main

## Material Streams
| Unit | 10xxx | 12xxxx | HTV | CTV | 15xx | ChargeFluidIn | 16xx | ChargeFluidOut | CTLiquid2 | HTLiquid2 | HTVapor2 | CTVapor2 | DisTurbIn | DisTurbOut | DisPumpIn | DisPumpOut | HTO | CTI | 1 | 6 | 10 | 4 | 7 | 9 | 8-b | HTLiquid | HTVapor | CTLiquid | CTVapor | 2023-01-02 | 2023-06-02 | 2023-10-02 | 2023-04-02 | 2023-07-02 | 2023-09-02 | 2023-12-02 | 2023-11-02 | 13-2 | 2023-08-02 | 2023-02-02 | SG In | SG Out | 26 | Pump_Out | Pump_In | 31 | 188 | 16 | 17 | 18
Vapour Fraction |  | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 0.85255 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0.84095 | 0
Temperature | C | 240.0228 | 180 | 240.0228 | 180 | 180 | 306.9 | 240.0228 | 185 | 180 | 238.7 | 238.7 | 180 | 235 | 41.5188 | 41.518 | 41.6278 | 240.0228 | 180.0061 | 306.9 | 36.8573 | 148.9444 | 306.9 | 37.0472 | 148.9 | 195.7002 | 238.6907 | 238.6907 | 180 | 180 | 306.9 | 41.6761 | 148.9444 | 306.9 | 41.9815 | 148.9 | 180 | 240 | 180 | 185 | 306.9 | 148.9445 | 306.8889 | 306.8889 | 27.2753 | 27.1097 | 148.9445 | 36.6859 | 235 | 41.6741 | 41.518
Pressure | kPa | 120 | 120 | 120 | 120 | 120 | 3398 | 120 | 3398 | 120 | 120 | 120 | 120 | 1000 | 8 | 8 | 1000 | 120 | 120 | 3398 | 6.231 | 3519.085 | 3398 | 3519 | 3398 | 3398 | 120 | 120 | 120 | 120 | 3398 | 8.0669 | 3519.085 | 3398 | 5319 | 3398 | 120 | 120 | 120 | 3398 | 3398 | 3397.7373 | 3397.7373 | 3397.7373 | 3519 | 7.0007 | 3397.7373 | 6.173 | 1200 | 8.0669 | 8
Molar Flow | kgmole/h | 21590.0817 | 21590.0817 | 0 | 0 | 21590.0817 | 11201.7138 | 21590.0817 | 11201.7138 | 12919.639 | 12919.639 | 0 | 0 | 4579.4915 | 4579.4915 | 4579.4915 | 4579.4915 | 10909.9497 | 10909.9497 | 13402.7562 | 6072.2773 | 13402.7562 | 629.1008 | 6072.2773 | 13402.7562 | 6701.3781 | 12919.639 | 0 | 12919.639 | 0 | 13402.7562 | 11162.03 | 13402.7562 | 2106.6986 | 11162.03 | 13402.7562 | 258.4196 | 258.4196 | 258.4196 | 134.0276 | 134.0276 | 13402.4885 | 13402.4885 | 2382.6851 | 11019.8035 | 11019.8035 | 13402.4885 | 5362.2957 | 54.3949 | 54.3949 | 54.3949
Mass Flow | kg/s | 1529.8972 | 1529.8972 | 0 | 0 | 1529.8972 | 56.0556 | 1529.8972 | 56.0556 | 915.5 | 915.5 | 0 | 0 | 22.9167 | 22.9167 | 22.9167 | 22.9167 | 773.0912 | 773.0912 | 67.07 | 30.3869 | 67.07 | 3.1481 | 30.3869 | 67.07 | 33.535 | 915.5 | 0 | 915.5 | 0 | 67.07 | 55.857 | 67.07 | 10.5423 | 55.857 | 67.07 | 18.3119 | 18.3119 | 18.3119 | 0.6707 | 0.6707 | 67.0687 | 67.0687 | 11.9234 | 55.1452 | 55.1452 | 67.0687 | 26.834 | 0.2722 | 0.2722 | 0.2722
Liquid Volume Flow | m3/h | 2816.6401 | 2816.6401 | 0 | 0 | 2816.6401 | 202.2072 | 2816.6401 | 202.2072 | 1685.495 | 1685.495 | 0 | 0 | 82.6665 | 82.6665 | 82.6665 | 82.6665 | 1423.3111 | 1423.3111 | 241.9393 | 109.6134 | 241.9393 | 11.3562 | 109.6134 | 241.9393 | 120.9696 | 1685.495 | 0 | 1685.495 | 0 | 241.9393 | 201.4909 | 241.9393 | 38.029 | 201.4909 | 241.9393 | 33.7134 | 33.7134 | 33.7134 | 2.4194 | 2.4194 | 241.9344 | 241.9344 | 43.0109 | 198.9235 | 198.9235 | 241.9344 | 96.7972 | 0.98191 | 0.98191 | 0.98191
Heat Flow | MW | -3292.5429 | -3416.5106 | 0 | 0 | -3416.5106 | -724.5717 | -3292.5429 | -848.5394 | -2044.4612 | -1971.8775 | 0 | 0 | -298.272 | -314.0059 | -360.9397 | -360.9091 | -1663.7953 | -1726.4325 | -866.9439 | -479.1883 | -1025.7878 | -40.6928 | -479.0689 | -1025.8057 | -506.044 | -1971.8888 | 0 | -2044.4612 | 0 | -866.9439 | -879.7157 | -1025.7878 | -136.2697 | -879.3833 | -1025.8057 | -40.8935 | -39.4102 | -40.8935 | -10.1527 | -8.6694 | -1025.7724 | -866.928 | -154.1218 | -871.6506 | -871.8665 | -1025.7724 | -423.18 | -3.5452 | -3.7372 | -4.2872
|  | 19 | 14 | 15 | 20-2 | 21-2 | 22-2 | 23-2 | 24-2 | Turb_In | Turb_Out | Turb_In-2 | Turb_Out-2 | 5 | 3 | 2023-05-03 | 2023-03-03 | 2023-02-03 | 2023-11-03 | 25-2 | 13 | 13-3 | 2023-12-04 | 144 | 155 | 199 | 144-2 | 155-2 | 166-2 | 199-2 | 12 | 11 | 2 | 8 | In-2 | Out-2 | Water in-2 | Water out-2 | Pumo in | 166 | 177 | 2023-05-02 | 2023-03-02 | 2002-05-02 | 2002-03-02 | 20 | 21 | 22 | 23 | 24 | 20-3-3
Vapour Fraction |  | 0 | 0 | 0 | 0.80547 | 0 | 0 | 0 | 0 | 1 | 0.80547 | 1 | 0.80547 | 0.81352 | 1 | 0.81352 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0.8293 | 0 | 0 | 0 | 0 | 1 | 0.82997 | 0.81352 | 1 | 0.81352 | 1 | 0.80547 | 0 | 0 | 0 | 0 | 0.80547
Temperature | C | 41.586 | 240.0082 | 180 | 41.6761 | 27.1097 | 37.8737 | 26.6722 | 26.6596 | 306.8889 | 41.6763 | 306.8889 | 41.6763 | 41.6753 | 306.9 | 41.6753 | 306.9 | 306.9 | 238.3283 | 198.554 | 180 | 180 | 180 | 238.701 | 180 | 36.75 | 238.7 | 179.8524 | 219.8305 | 36.75 | 180 | 238.6907 | 306.9 | 195.7 | 41.67 | 35.4739 | 26.67 | 36.6271 | 26.6574 | 218 | 41.6748 | 41.6753 | 306.9 | 41.6753 | 306.9 | 41.6761 | 27.1097 | 37.8737 | 26.6722 | 26.6596 | 41.6761
Pressure | kPa | 1200 | 120 | 120 | 8.0669 | 7.0007 | 226.1784 | 227.4581 | 101.353 | 3397.7373 | 8.0669 | 3397.7373 | 8.0669 | 8.0669 | 3398 | 8.0669 | 3398 | 3398 | 119.42 | 3397.4318 | 120 | 120 | 120 | 122.2 | 120 | 1200 | 120 | 117.8457 | 1197.2598 | 1200 | 120.6 | 120 | 3398 | 3397 | 8.0642 | 6.9282 | 227.5 | 224.2619 | 101.3 | 1197 | 8.0669 | 8.0669 | 3398 | 8.067 | 3398 | 8.0669 | 7.0007 | 226.1793 | 227.4581 | 101.353 | 8.0669
Molar Flow | kgmole/h | 54.3949 | 129.1964 | 129.1964 | 110.2032 | 110.2032 | 4694.0621 | 4694.0621 | 4694.0621 | 11019.8035 | 11019.8035 | 3752.6737 | 3752.6737 | 6072.2773 | 6072.2773 | 3001.3198 | 3001.3198 | 6700.3789 | 12919.639 | 6700.3789 | 12919.639 | 12919.639 | 12919.639 | 12919.639 | 12919.639 | 5362.2957 | 12919.639 | 12919.639 | 5367.4971 | 5367.4971 | 12919.639 | 12919.639 | 6701.3781 | 6701.3781 | 536.1502 | 536.1502 | 25978.2065 | 25978.2065 | 25978.2065 | 5362.2957 | 5362.2957 | 11162.03 | 11162.03 | 3717.5255 | 3717.5255 | 11020.3183 | 11020.3183 | 469406.2079 | 469406.2079 | 469406.2079 | 603.2939
Mass Flow | kg/s | 0.2722 | 9.155 | 9.155 | 0.55148 | 0.55148 | 23.49 | 23.49 | 23.49 | 55.1452 | 55.1452 | 18.7791 | 18.7791 | 30.3869 | 30.3869 | 15.0192 | 15.0192 | 33.53 | 915.5 | 33.53 | 915.5 | 915.5 | 915.5 | 915.5 | 915.5 | 26.834 | 915.5 | 915.5 | 26.86 | 26.86 | 915.5 | 915.5 | 33.535 | 33.535 | 2.683 | 2.683 | 130 | 130 | 130 | 26.834 | 26.834 | 55.857 | 55.857 | 18.6032 | 18.6032 | 55.1478 | 55.1478 | 2349 | 2349 | 2349 | 3.019
Liquid Volume Flow | m3/h | 0.98191 | 16.8549 | 16.8549 | 1.9893 | 1.9893 | 84.7347 | 84.7347 | 84.7347 | 198.9235 | 198.9235 | 67.7412 | 67.7412 | 109.6134 | 109.6134 | 54.1782 | 54.1782 | 120.9516 | 1685.495 | 120.9516 | 1685.495 | 1685.495 | 1685.495 | 1685.495 | 1685.495 | 96.7972 | 1685.495 | 1685.495 | 96.8911 | 96.8911 | 1685.495 | 1685.495 | 120.9696 | 120.9696 | 9.6783 | 9.6783 | 468.9444 | 468.9444 | 468.9444 | 96.7972 | 96.7972 | 201.4909 | 201.4909 | 67.1067 | 67.1067 | 198.9328 | 198.9328 | 8473.4654 | 8473.4654 | 8473.4654 | 10.8903
Heat Flow | MW | -4.2869 | -19.703 | -20.4446 | -7.6186 | -8.7191 | -370.3232 | -371.4238 | -371.4277 | -712.8061 | -761.821 | -242.7383 | -259.4298 | -419.2014 | -392.7792 | -207.197 | -194.1374 | -433.4073 | -1972.3271 | -505.5414 | -2044.4612 | -2044.4612 | -2044.4612 | -1971.8763 | -2044.4612 | -423.1442 | -1971.8775 | -2044.6477 | -350.7844 | -423.5546 | -2044.4609 | -1971.8888 | -433.4719 | -506.0441 | -36.9116 | -42.3253 | -2055.5605 | -2050.1468 | -2055.5825 | -350.5618 | -369.1273 | -770.574 | -722.0047 | -256.6404 | -240.4644 | -761.8566 | -871.9072 | -37032.3247 | -37142.3753 | -37142.7716 | -41.7069
|  | 21-3-3 | 22-3-3 | 23-3-3 | 24-3-3 | 144-a
Vapour Fraction |  | 0 | 0 | 0 | 0 | 0
Temperature | C | 35.7972 | 38.1706 | 26.6722 | 26.6596 | 238.7
Pressure | kPa | 6.2306 | 222.5812 | 227.4581 | 101.353 | 120
Molar Flow | kgmole/h | 603.2939 | 24579.38 | 24579.38 | 24579.38 | 12919.639
Mass Flow | kg/s | 3.019 | 123 | 123 | 123 | 915.5
Liquid Volume Flow | m3/h | 10.8903 | 443.6936 | 443.6936 | 443.6936 | 1685.495
Heat Flow | MW | -47.6218 | -1938.9605 | -1944.8753 | -1944.8961 | -1971.8775

## Compositions
| Unit | 10xxx | 12xxxx | HTV | CTV | 15xx | ChargeFluidIn | 16xx | ChargeFluidOut | CTLiquid2 | HTLiquid2 | HTVapor2 | CTVapor2 | DisTurbIn | DisTurbOut | DisPumpIn | DisPumpOut | HTO | CTI | 1 | 6 | 10 | 4 | 7 | 9 | 8-b | HTLiquid | HTVapor | CTLiquid | CTVapor | 2023-01-02 | 2023-06-02 | 2023-10-02 | 2023-04-02 | 2023-07-02 | 2023-09-02 | 2023-12-02 | 2023-11-02 | 13-2 | 2023-08-02 | 2023-02-02 | SG In | SG Out | 26 | Pump_Out | Pump_In | 31 | 188 | 16 | 17 | 18
Comp Mole Frac (Hitec*) |  | 1 | 1 | 1 | 1 | 1 | *** | 1 | *** | 1 | 1 | 1 | 1 | *** | *** | *** | *** | 1 | 1 | *** | *** | *** | *** | *** | *** | *** | 1 | 1 | 1 | 1 | *** | *** | *** | *** | *** | *** | 1 | 1 | 1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (H2O) |  | *** | *** | *** | *** | *** | 1 | *** | 1 | *** | *** | *** | *** | 1 | 1 | 1 | 1 | *** | *** | 1 | 1 | 1 | 1 | 1 | 1 | 1 | *** | *** | *** | *** | 1 | 1 | 1 | 1 | 1 | 1 | *** | *** | *** | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Comp Mole Frac (HitecXL*) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (SolarSalt*) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (DTRM-A) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (Therminol-66) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
|  | 19 | 14 | 15 | 20-2 | 21-2 | 22-2 | 23-2 | 24-2 | Turb_In | Turb_Out | Turb_In-2 | Turb_Out-2 | 5 | 3 | 2023-05-03 | 2023-03-03 | 2023-02-03 | 2023-11-03 | 25-2 | 13 | 13-3 | 2023-12-04 | 144 | 155 | 199 | 144-2 | 155-2 | 166-2 | 199-2 | 12 | 11 | 2 | 8 | In-2 | Out-2 | Water in-2 | Water out-2 | Pumo in | 166 | 177 | 2023-05-02 | 2023-03-02 | 2002-05-02 | 2002-03-02 | 20 | 21 | 22 | 23 | 24 | 20-3-3
Comp Mole Frac (Hitec*) |  | *** | 1 | 1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | 1 | *** | 1 | 1 | 1 | 1 | 1 | *** | 1 | 1 | *** | *** | 1 | 1 | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (H2O) |  | 1 | *** | *** | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | *** | 1 | *** | *** | *** | *** | *** | 1 | *** | *** | 1 | 1 | *** | *** | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Comp Mole Frac (HitecXL*) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (SolarSalt*) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (DTRM-A) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
Comp Mole Frac (Therminol-66) |  | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | *** | ***
|  | 21-3-3 | 22-3-3 | 23-3-3 | 24-3-3 | 144-a
Comp Mole Frac (Hitec*) |  | *** | *** | *** | *** | 1
Comp Mole Frac (H2O) |  | 1 | 1 | 1 | 1 | ***
Comp Mole Frac (HitecXL*) |  | *** | *** | *** | *** | ***
Comp Mole Frac (SolarSalt*) |  | *** | *** | *** | *** | ***
Comp Mole Frac (DTRM-A) |  | *** | *** | *** | *** | ***
Comp Mole Frac (Therminol-66) |  | *** | *** | *** | *** | ***

## Energy Streams
| Unit | Q-100 | Q-101 | Q-102 | BOPPumpPower | ReactorHeat | BOPPumpPower-2 | CondenserCooling-2 | ReactorHeat-2 | TES Pump Power-2 | Reactor_Heat | Condenser Cooling | Pump Power | Q-104 | DisCondCooling | 2ndBOPPumpPower | Turbine2Power-2 | DisCondCooling-2 | 2ndBOPPumpPower-2 | Q-103-2 | Turb_Power | Turb_Power-2 | TurbinePower | TurbinePower-3 | TES Pump Power | TES Pump Power-3 | CondenserCooling | sized pump P | Turbine2Power | TurbinePower-2 | TurbinePower-2-2 | Q-103 | Q-103-3-3 | SHX Pump Power
Heat Flow | MW | 15.7339 | 46.9338 | 0.030569 | 0.1194 | 158.8439 | 0.33244 | 109.1418 | 158.8439 | 0 | 158.8444 | 110.0455 | 0.21596 | 5.1326e-05 | 54.0527 | 0.035831 | 0.19203 | 0.54998 | 0.00036358 | 0.0039628 | 49.0149 | 16.6915 | 26.4222 | 13.0596 | 0.0003133 | 0 | 59.9869 | 0.021948 | 18.5655 | 48.5692 | 16.176 | 0.39628 | 0.02075 | 0.0011747

## Feeder Blocks
| Unit | ProductBlock_10xxx | FeederBlock_12xxxx | ProductBlock_HTV | ProductBlock_CTV | FeederBlock_ChargeFluidIn | ProductBlock_ChargeFluidOut | ProductBlock_HTVapor2 | ProductBlock_CTVapor2 | ProductBlock_CTLiquid2 | FeederBlock_HTLiquid2 | FeederBlock_HTO | ProductBlock_CTI | FeederBlock_10 | ProductBlock_9 | ProductBlock_HTLiquid | ProductBlock_HTVapor | FeederBlock_CTLiquid | ProductBlock_CTVapor | FeederBlock_10-2 | ProductBlock_9-2 | ProductBlock_11-2 | FeederBlock_13-2 | FeederBlock_14 | ProductBlock_15 | FeederBlock_20-2 | ProductBlock_21-2 | ProductBlock_22-2 | FeederBlock_24-2 | FeederBlock_Turb_In-2 | ProductBlock_Turb_Out-2 | FeederBlock_3-3 | ProductBlock_5-3 | ProductBlock_11-3 | FeederBlock_13-3 | FeederBlock_2-3 | ProductBlock_25-2 | ProductBlock_166-2 | FeederBlock_199-2 | FeederBlock_144-2 | ProductBlock_155-2 | FeederBlock_In-2 | ProductBlock_Out-2 | ProductBlock_Water out-2 | FeederBlock_Pumo in | FeederBlock_3-2-2 | ProductBlock_5-2-2 | FeederBlock_20 | ProductBlock_21 | ProductBlock_22 | FeederBlock_24
Flash Type |  | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown | Unknown
|  | FeederBlock_20-3-3 | ProductBlock_21-3-3 | ProductBlock_22-3-3 | FeederBlock_24-3-3
Flash Type |  | Unknown | Unknown | Unknown | Unknown

## Heat Exchangers
| Unit | E-102 | E-103 | C-IHX-2 | D-IHX hot standby | 1/10th NPP Ref Cond | Sized Diversion IHX-3 | D-IHX | Sized SHX-3 | C-IHX | TES Loop cond (sized 1/10) | CondModel | Cond-charge cond 1/10
Duty | MW | 123.9678 | 62.6371 | 1.4833 | 0.74165 | 1.1005 | 72.1341 | 72.5849 | 72.7703 | 72.5721 | 5.4137 | 110.0506 | 5.9149
Tube Side Feed Mass Flow | kg/s | 1529.8972 | 773.0912 | 18.3119 | 9.155 | 0.55148 | 915.5 | 915.5 | 915.5 | 915.5 | 2.683 | 2349 | 3.019
Shell Side Feed Mass Flow | kg/s | 56.0556 | 22.9167 | 0.6707 | 0.2722 | 23.49 | 33.53 | 26.834 | 26.86 | 33.535 | 130 | 55.1478 | 123
Tube Inlet Temperature | C | 180 | 240.0228 | 180 | 240.0082 | 41.6761 | 180 | 238.701 | 238.7 | 180 | 41.67 | 26.6722 | 41.6761
Tube Outlet Temperature | C | 240.0228 | 180.0061 | 240 | 180 | 27.1097 | 238.3283 | 180 | 179.8524 | 238.6907 | 35.4739 | 37.8737 | 35.7972
Shell Inlet Temperature | C | 306.9 | 41.6278 | 306.9 | 41.586 | 26.6722 | 306.9 | 36.75 | 36.75 | 306.9 | 26.67 | 41.6761 | 26.6722
Shell Outlet Temperature | C | 185 | 235 | 185 | 235 | 37.8737 | 198.554 | 218 | 219.8305 | 195.7 | 36.6271 | 27.1097 | 38.1706

## Adjusts
| Unit | DecoupledAdjustSaltTempCharge | DecoupledAdjSaltTempDischarge | Adjust Hot Tank Inlet Temp | Split Adjust - Turbine Power | SplitAdjust - SG Inlet Temp | Split Adjust Discharging SG Inlet Temp | DecoupledAdjustSplitBaseMode
Target Value | C | 240 | 180 | 240 | 25000 | 148.9 | 148.9 | 148.9444
Target Offset | C | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty>

## Expanders
| Unit | K-101 | 2ndTurbine-2 | NPP Ref Turbine | NPP Ref Turbine (1/3) | Turbine | Turbine-charge (sized 1/2) | 2ndTurbine | Turbine-2 | Turbine-discharge (sized 1/3)
Expander Speed | rpm | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty>
POWER | kW | 15733.8629 | 192.0341 | 49014.9163 | 16691.4945 | 26422.2378 | 13059.6121 | 18565.4877 | 48569.2266 | 16176
Capacity (act feed vol flow) | ACT_m3/h | 18548.4671 | 181.8902 | 14280.7731 | 4863.1613 | 7868.7221 | 3889.2413 | 17224.0525 | 14464.246 | 4817.3319
Feed Pressure | kPa | 1000 | 1200 | 3397.7373 | 3397.7373 | 3398 | 3398 | 1197 | 3398 | 3398
Product Pressure | kPa | 8 | 8.0669 | 8.0669 | 8.0669 | 8.0669 | 8.0669 | 8.0669 | 8.0669 | 8.067
Product Temperature | C | 41.5188 | 41.6741 | 41.6763 | 41.6763 | 41.6753 | 41.6753 | 41.6748 | 41.6753 | 41.6753
Surge flow rate | ACT_m3/h | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty>

## Coolers
| Unit | DisCond | Condenser | Condenser-2 | NPP Ref Condenser | DischargeCond | DischargeCond-2
DUTY | MW | 46.9338 | 59.9869 | 109.1418 | 110.0455 | 54.0527 | 0.54998
Feed Temperature | C | 41.5188 | 41.6753 | 41.6753 | 41.6763 | 41.6748 | 41.6741
Product Temperature | C | 41.518 | 36.8573 | 41.6761 | 27.1097 | 36.6859 | 41.518

## Pumps
| Unit | P-101 | BOP Pump | BOP Pump-2 | TES Pump-2 | BOP Ref Pump | IHX Pump | 2ndBOPPump | 2ndBOPPump-2 | NPP Cond Ref Pump 1/10 | TES Pump | TES Pump-3 | TES Loop cond pump (sized 1/10) | P-100 | Cond-charge cond Pump 1/10 | SHX pump
Speed | rpm | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty> | <empty>
Power | kW | 30.5687 | 119.3987 | 332.4358 | 0 | 215.9561 | 0.051326 | 35.8314 | 0.36358 | 3.9628 | 0.3133 | 0 | 21.9478 | 396.282 | 20.7504 | 1.1747
Capacity(Actual Vol. Flow) | m3/h | 83.201 | 110.1273 | 202.8065 | 33.8403 | 199.2306 | 138.5798 | 97.245 | 0.98826 | 84.8513 | 1691.837 | 1691.837 | 469.5897 | 8485.1296 | 444.3044 | 1730.0489
Feed Pressure | kPa | 8 | 6.231 | 8.0669 | 120 | 7.0007 | 3397 | 6.173 | 8 | 101.353 | 120 | 120 | 101.3 | 101.353 | 101.353 | 120
Product Pressure | kPa | 1000 | 3519 | 5319 | 120 | 3519 | 3398 | 1200 | 1200 | 227.4581 | 120.6 | 120 | 227.5 | 227.4581 | 227.4581 | 122.2
Product Temperature | C | 41.6278 | 37.0472 | 41.9815 | 180 | 27.2753 | 195.7002 | 36.75 | 41.586 | 26.6722 | 180 | 180 | 26.67 | 26.6722 | 26.6722 | 238.701

## Spreadsheets
Unit | SPRDSHT-1 | Charging Calcs | Discharging Calcs | Calculations

## Heaters
| Unit | Steam Generator | Steam Generator-2 | SG
Duty | MW | 158.8439 | 158.8439 | 158.8444
Feed Temperature | C | 148.9444 | 148.9444 | 148.9445
Product Temperature | C | 306.9 | 306.9 | 306.8889

## Tanks
| Unit | HT | CT | HotTank-2 | ColdTank-2 | HotTank | ColdTank
Inlet Molar Flow (16xx) | kgmole/h | 21590.0817 | 21590.0817 | 12919.639 | 12919.639 | 12919.639 | 12919.639
Inlet Molar Flow(2) | kgmole/h | <empty> | <empty> | <empty> | <empty> | <empty> | <empty>
Vapour Molar Flow | kgmole/h | 0 | 0 | 0 | 0 | 0 | 0
Liquid Molar Flow | kgmole/h | 21590.0817 | 21590.0817 | 12919.639 | 12919.639 | 12919.639 | 12919.639
Vessel Temperature | C | 240.0228 | 180 | 238.7 | 180 | 238.6907 | 180
Vessel Pressure | kPa | 120 | 120 | 120 | 120 | 120 | 120
Liquid Percent Level | % | 95 | 95 | 95 | 95 | 95 | 95

## Tees
| Unit | FWH Split | FWH Split-2 | FWH_Split
Feed Molar Flow | kgmole/h | 13402.7562 | 13402.7562 | 13402.4885
Feed Temperature | C | 306.9 | 306.9 | 306.8889
Feed Pressure | kPa | 3398 | 3398 | 3397.7373
Flow Ratio(1) |  | 0.046938 | 0.15718 | 0.82222
Flow Ratio(2) |  | 0.45306 | 0.83282 | 0.17778
Flow Ratio(3) |  | 0.5 | 0.01 | <empty>

## Mixers
| Unit | FWH Mix | FWH Mix-2 | FWH_Mix
Product Molar Flow | kgmole/h | 13402.7562 | 13402.7562 | 13402.4885
Product Mass Flow | kg/s | 67.07 | 67.07 | 67.0687
Product Volume Flow | m3/h | 241.9393 | 241.9393 | 241.9344
Product Temperature | C | 148.9 | 148.9 | 148.9445
Product Pressure | kPa | 3398 | 3398 | 3397.7373
Equalize Pressures |  | No | No | No

## Sets
| Unit | DecoupledModelsSet | SetCharge&DischargeRates | SetTESHotStandbySaltFlowRate
Source Value | C | 240.0228 | 915.5 | 915.5
Target Value | C | 240.0228 | 915.5 | 9.155
Multiplier |  | 1 | 1 | 0.01
Increment | C | 0 | 0 | 0

## Recycles
| Unit | RCY-2
Type of Recycle |  | Nested
Convergence State |  | Converged
Maximum Iterations |  | 10
Iterations |  | 0