## SMR
Source | Find Abdalla's report citation |  |  | SA Capacity
|  |  |  | # modules | 12
720MWe ((2020)$ USD) | Low | Med | High | Unit capacity (MWe) | 60 | 20 | 40 | 80 | 100
CAPEX ($/MWe) | 1802460 | 5569000 | 24646000 | Total capacity (MWe) | 720 | 240 | 480 | 960 | 1200
OPEX ($/MWh) | 3.71 | 23.2 | 55.69

## Boundaries_5steps
htse | meoh | illinois | nebraska | ohio | minnesota | texas
-667 | -16761.71 | 10 | 10 | 10 | 10 | 10
-512 | -12866.56 | 100570.26 | #REF! | #REF! | #REF! | #REF!
-357 | -8971.41 | 201140.52 | #REF! | #REF! | #REF! | #REF!
-202 | -5076.26 | 301710.78 | #REF! | #REF! | #REF! | #REF!
-47 | -1181.11 | 402281.04 | #REF! | #REF! | #REF! | #REF!

## Boundaries_6steps
htse | meoh | illinois | nebraska | ohio | minnesota | texas
-667 | -16761.71 | 10 | 10 | 10 | 10 | 10
-543 | -13645.59 | 80456.208 | #REF! | #REF! | #REF! | #REF!
-419 | -10529.47 | 160912.416 | #REF! | #REF! | #REF! | #REF!
-295 | -7413.35 | 241368.624 | #REF! | #REF! | #REF! | #REF!
-171 | -4297.23 | 321824.832 | #REF! | #REF! | #REF! | #REF!
-47 | -1181.11 | 402281.04 | #REF! | #REF! | #REF! | #REF!

## Boundaries_7steps
htse | meoh | illinois | nebraska | ohio | minnesota | texas
-667 | -16761.71 | 10 | 10 | 10 | 10 | 10
-563.6667 | -14164.9433 | 67046.84 | #REF! | #REF! | #REF! | #REF!
-460.3333 | -11568.1767 | 134093.68 | #REF! | #REF! | #REF! | #REF!
-357 | -8971.41 | 201140.52 | #REF! | #REF! | #REF! | #REF!
-253.6667 | -6374.6433 | 268187.36 | #REF! | #REF! | #REF! | #REF!
-150.3333 | -3777.8767 | 335234.2 | #REF! | #REF! | #REF! | #REF!
-47 | -1181.11 | 402281.04 | #REF! | #REF! | #REF! | #REF!

## Boundaries_8steps
htse | meoh | illinois | nebraska | ohio | minnesota | texas
-667 | -16761.71 | 10 | 10 | 10 | 10 | 10
-578.4286 | -14535.91 | 57468.72 | #REF! | #REF! | #REF! | #REF!
-489.8571 | -12310.11 | 114937.44 | #REF! | #REF! | #REF! | #REF!
-401.2857 | -10084.31 | 172406.16 | #REF! | #REF! | #REF! | #REF!
-312.7143 | -7858.51 | 229874.88 | #REF! | #REF! | #REF! | #REF!
-224.1429 | -5632.71 | 287343.6 | #REF! | #REF! | #REF! | #REF!
-135.5714 | -3406.91 | 344812.32 | #REF! | #REF! | #REF! | #REF!
-47 | -1181.11 | 402281.04 | #REF! | #REF! | #REF! | #REF!

## 40_MWe
htse | meoh | storage
-427 | -10730.51 | 10
-372.7143 | -9366.31 | 36790.32
-318.4286 | -8002.11 | 73580.64
-264.1429 | -6637.91 | 110370.96
-209.8571 | -5273.71 | 147161.28
-155.5714 | -3909.51 | 183951.6
-101.2857 | -2545.31 | 220741.92
-47 | -1181.11 | 257532.24

## 80_MWe
htse | meoh | storage
-907 | -22792.91 | 10
-784.1429 | -19705.51 | 78147.12
-661.2857 | -16618.11 | 156294.24
-538.4286 | -13530.71 | 234441.36
-415.5714 | -10443.31 | 312588.48
-292.7143 | -7355.91 | 390735.6
-169.8571 | -4268.51 | 468882.72
-47 | -1181.11 | 547029.84

## Boundaries
Purpose | Components capacities optimization boundaries calculation |  |  |  |  | 0
Comment | Capacity negative when component is consuming a resource |  |  |  |  | 1
Fixed components | [5 empty] | 2
Name | Capacity | Unit |  |  |  | 3
Max MeOH electricity consumption | 53 | MWe |  |  |  | 4
elec_market | -1e+200 | MWe |  |  |  | 5
jet_fuel_market | -1e+200 | MWe |  |  |  | 6
diesel_market | -1e+200 | MWe |  |  |  | 7
naphtha_market | -1e+200 | MWe |  |  |  | 8
Plant | Capacity (MWe) | HTSE (MWe) |  | MeOH (kg-H2)
|  | Lower | Upper | Lower | Upper
Ref | 720 | -667 | -47 | -16761.71 | -1181.11
40MWe | 480 | -427 | -47 | -10730.51 | -1181.11
80MWe | 960 | -907 | -47 | -22792.91 | -1181.11
For SA inputs
HTSE Steps
Plant | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Ref | -667 | -598.1111 | -529.2222 | -460.3333 | -391.4444 | -322.5556 | -253.6667 | -184.7778 | -115.8889 | -47
40MWe | -427 | -384.7778 | -342.5556 | -300.3333 | -258.1111 | -215.8889 | -173.6667 | -131.4444 | -89.2222 | -47
80MWe | -907 | -811.4444 | -715.8889 | -620.3333 | -524.7778 | -429.2222 | -333.6667 | -238.1111 | -142.5556 | -47
MeOH Steps
Plant | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
Ref | -16761.71 | -15030.5322 | -13299.3544 | -11568.1767 | -9836.9989 | -8105.8211 | -6374.6433 | -4643.4656 | -2912.2878 | -1181.11
40MWe | -10730.51 | -9669.4656 | -8608.4211 | -7547.3767 | -6486.3322 | -5425.2878 | -4364.2433 | -3303.1989 | -2242.1544 | -1181.11
80MWe | -22792.91 | -20391.5989 | -17990.2878 | -15588.9767 | -13187.6656 | -10786.3544 | -8385.0433 | -5983.7322 | -3582.4211 | -1181.11
H2 Storage |  |  | Ref |  | 40MWe |  | 80MWe
Location elec. Prices |  |  | Lower | Upper | Lower | Upper | Lower | Upper
illinois |  |  | 0 | 402281.04 | 0 | 257532.24 | 0 | 547029.84
Ref (60MWe) | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
illinois | 0 | 44697.8933 | 89395.7867 | 134093.68 | 178791.5733 | 223489.4667 | 268187.36 | 312885.2533 | 357583.1467 | 402281.04
40MWe | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
illinois | 0 | 28614.6933 | 57229.3867 | 85844.08 | 114458.7733 | 143073.4667 | 171688.16 | 200302.8533 | 228917.5467 | 257532.24
80MWe | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
illinois | 0 | 60781.0933 | 121562.1867 | 182343.28 | 243124.3733 | 303905.4667 | 364686.56 | 425467.6533 | 486248.7467 | 547029.84

## HTSE_steps
size | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
60 | -667 | -598.1111 | -529.2222 | -460.3333 | -391.4444 | -322.5556 | -253.6667 | -184.7778 | -115.8889 | -47
20 | -427 | -384.7778 | -342.5556 | -300.3333 | -258.1111 | -215.8889 | -173.6667 | -131.4444 | -89.2222 | -47
100 | -907 | -811.4444 | -715.8889 | -620.3333 | -524.7778 | -429.2222 | -333.6667 | -238.1111 | -142.5556 | -47

## MeOH_steps
size | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
60 | -16761.71 | -15030.5322 | -13299.3544 | -11568.1767 | -9836.9989 | -8105.8211 | -6374.6433 | -4643.4656 | -2912.2878 | -1181.11
20 | -10730.51 | -9669.4656 | -8608.4211 | -7547.3767 | -6486.3322 | -5425.2878 | -4364.2433 | -3303.1989 | -2242.1544 | -1181.11
100 | -22792.91 | -20391.5989 | -17990.2878 | -15588.9767 | -13187.6656 | -10786.3544 | -8385.0433 | -5983.7322 | -3582.4211 | -1181.11

## storage_steps
location | size | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
illinois | 60 | 10 | 44697.8933 | 89395.7867 | 134093.68 | 178791.5733 | 223489.4667 | 268187.36 | 312885.2533 | 357583.1467 | 402281.04
nebraska | 60 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ohio | 60 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
minnesota | 60 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
texas | 60 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
illinois | 20 | 10 | 28614.6933 | 57229.3867 | 85844.08 | 114458.7733 | 143073.4667 | 171688.16 | 200302.8533 | 228917.5467 | 257532.24
nebraska | 20 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ohio | 20 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
minnesota | 20 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
texas | 20 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
illinois | 100 | 10 | 60781.0933 | 121562.1867 | 182343.28 | 243124.3733 | 303905.4667 | 364686.56 | 425467.6533 | 486248.7467 | 547029.84
nebraska | 100 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
ohio | 100 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
minnesota | 100 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
texas | 100 | 10 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## PTC vs. ITC
SMR Capacity (MWe) |  | 720
ITC (%) |  | 30
PTC ($/Mwh) |  | 25 | First 10 years of operations
CAPEX ($/MW) |  | 5569000
Added revenues | Discount rate | ITC | PTC
|  | 20% of total CAPEX costs | 25 $/MWh for 10 years
| 0% | 1202904000 | 1576800000
| 10% | 1202904000 | 1065762875.3503

## MACRS
Sources | https://www.irs.gov/publications/p946 | https://cs.thomsonreuters.com/ua/fixa/cs_us_en/ass_life_tbl/hid_help_asset_lives.htm
Class |  | MACRS |  | Component | MACRS | From
00.4 | Industrial Steam and Electric Generation and/or Distribution Systems | 15 |  | FT | 7 | 49.222
13.3 | Petroleum Refining | 10 |  | H2 storage | 15 | 49.24
49.222 | Gas Utility Substitute Natural Gas (SNG) Production Plant (naphta or light hydrocarbon feedstocks) | 7 |  | HTSE | 20 | 49.221
49.24 | Gas Utility Trunk Pipelines and Related Storage Facilities | 15 | No | CO2 source ? | 20 | 49.221
49.221 | Gas Utility Manufactured Gas Production Plants | 20
28.0 | Manufacture of Chemicals and Allied Products | 5

## HTSE
Source | High-Temperature Steam Electrolysis Process Performance and Cost Estimates, D. Wendt
QoI | Value | Unit
Electricity required | 36.8 | kWh-e/kg-H2
| 0.027174 | kg-H2/kWh-e
Thermal energy required | 6.4 | kWh-t/kg-H2
Direct Capital Cost (FOAK) | 590 | $/kW-dc
Total Capital Investment (FOAK) | 763 | $/kW-dc
Direct Capital Cost (NOAK) | 544 | $/kW-dc
Total Capital Investment (NOAK) | 703 | $/kW-dc
Project duration | 20 | years
FOM | 32.64 | $/kw-dc-year
VOM (excl. energy cost) | 3.41 | $/MWh-dc
IRR | 10 | %
Depreciation schedule (MACRS) | 20 | years
Using NOAK values

## MeOH
Costs ($(2020)) |  |  |  |  | Density (kg/L)
Inflation rate 2019 to 2020 | 0.012 |  |  |  | l/gal | 3.7854
Density (kg/L)
Scale. (MWe, htse+MeOH comb.) | 100 | 500 | 1000 |  | naphtha | 0.77
CAPEX | 167921429.192 | 376933297.796 | 655027563.256 |  | jet fuel | 0.8
Fixed OPEX ($/year) | 11297541.948 | 19962889.1 | 27050057.672 |  | diesel | 0.85
Variable OPEX ($/year) | 631442.966 | 3156650.134 | 6314321.882
h2 | 0 | 0 | 0
co2 | 0 | 0 | 0
electricity | 0 | 0 | 0
refrigerant | 125952.002 | 629646.919 | 1259519.008
other | 505490.964 | 2527003.215 | 5054802.874
Comments | For variable OPEX only costs not input related
Linear regressions show R2=1 so using 1000MWe values
Efficiency
Scale. (MWe, htse+MeOH comb.) | 100 | 500 | 1000
Inputs (kg/h) |  |  |  | Ratios\Scale(MWe) | 100 | 500 | 1000
h2 | 2416.6667 | 12125 | 24291.6667 | h2 | 1 | 1 | 1
co2 | 14666.6667 | 73375 | 146791.6667 | co2 | 6.069 | 6.0515 | 6.0429
electricity (MW) | 5.5 | 27 | 53 | electricity | 0.0022759 | 0.00036797 | 0.00036106
Fuel products (kg/h) |  |  |  | naphtha | 0.041379 | 0.041924 | 0.041852
naphtha | 100 | 508.3333 | 1016.6667 | jet fuel | 0.34655 | 0.34467 | 0.34425
jet fuel | 837.5 | 4179.1667 | 8362.5 | diesel | 1.4897 | 1.4838 | 1.4813
diesel | 3600 | 17991.6667 | 35983.3333
CAPEX regression | ln(CAPEX) = ln(alpha)+x.ln(driver/ref)
Scale. (MWe, htse+MeOH comb.) | 100 | 500 | 1000
CAPEX | 167921429.192 | 376933297.796 | 655027563.256
Scale. (MWe, htse+MeOH comb.) | CAPEX | ln(driver/ref) | ln(CAPEX)
100 | 167921429.192 | -2.3026 | 18.939
500 | 376933297.796 | -0.69315 | 19.7476
1000 | 655027563.256 | 0 | 20.3002
Identification
Alpha | 614918317.5758
Scaling factor | 0.5755
Scale | 100 | 500 | 1000
H2 to MWe rate | 24.1667 | 24.25 | 24.2917
H2 to MWe rate | 24.1667

## MeOH_original_data
Scale. (MWe, htse+MeOH comb.) | 100 | 500 | 1000
CAPEX | 165930266 | 372463733 | 647260438
Fixed OPEX ($/year) | 11163579 | 19726175 | 26729306
Variable OPEX ($/MWh) | 41496911 | 195785234 | 389682027
h2 | 33150 | 154050000 | 3022500000
co2 | 3972302 | 14860183 | 33686363
electricity | 2878787 | 14398173 | 28787869
refrigerant | 497834 | 2488723 | 4978336
other | 1997988 | 9988155 | 19979458
in $(2019)
75% of refrigerant is electricity costs
$ variable OPEX in $MWh?
Efficiency
Scale. (MWe, htse+MeOH comb.) | 100 | 500 | 1000
Inputs (MT/d)
h2 | 58 | 291 | 583
co2 | 352 | 1761 | 3523
electricity (MW) | 5.5 | 27 | 53
Fuel products (MT/d)
naphtha | 2.4 | 12.2 | 24.4
jet fuel | 20.1 | 100.3 | 200.7
diesel | 86.4 | 431.8 | 863.6

## Capacity_Market
Comment | Used to compute a negative cashflow for the capacity of the NPP not sold on the capacity market
PJM Capacity Market Clearing Price
Period | Price ($/MWe-day) | EFORd (%)
2018/2019 | 164.77 | 1.395
2019/2020 | 100 | 1.395
2020/2021 | 76.53 | 1.395
2021/2022 | 140 | 1.395
Average | 120.325
Equations
Capacity sold = UCAP
UCAP = Installed Cap *(1-EFORd)
Acronyms
EFORd | Equivalent forced outage rate demand
UCAP | Unforced CAPacity

## Tax rates
Case name | Market | State | State corporate income tax rate (%) | Effective tax rate
illinois | PJM | Illinois | 9.5% | 28.51%
ohio | PJM | Ohio | 0% | 21%
texas | ERCOT | Texas | 0% | 21%
california | CAISO | California | 8.84% | 27.98%
minnesota | MISO | Minnesota | 9.8% | 28.74%
nebraska | SPP | Nebraska | 7.81% | 27.17%
arizona | Southwest, Arizona | Arizona | 4.9% | 24.87%
Federal corporate tax rate | 21%